Eligibility Checklist

GENERAL REQUIREMENTS

A. System size is 10kW alternating current nameplate rating or less Y N

B. The solar array is roof-mounted on one- or two-family dwelling or accessory structure Y N

C. The solar panel/module arrays will not exceed the maximum legal building height Y N

D. Solar system is utility interactive and without battery storage Y N

E. Permit application is completed and attached Y N

ELECTRICAL REQUIREMENTS

A. For central/string inverter systems, strings are not combined prior to the inverter Y N

B. PV module short circuit current (ISC) is less than 13 Amps Y N

C. System does not utilize storage batteries, charge controllers, or trackers Y N

D. PV system is not a hybrid or bipolar system Y N

E. For central/string inverter systems:No more than two inverters are utilized Y N

F. The PV system is interconnected to a single-phase AC service panel of nominal

120/220 Vac with a bus bar rating of 225 A or less Y N

G. A Solar PV Standard Plan and supporting documentation is completed and attached Y N

STRUCTURAL REQUIREMENTS

A. A completed Structural Criteria and supporting documentation is attached (if required) Y N

FIRE SAFETYREQUIREMENTS

A. Clear access pathways provided Y N

B. Fire classification solar system is provided Y N

C. All required markings and labels are provided Y N

D. A diagram of the roof layout of all panels, modules, clear access pathways and

approximate locations of electrical disconnecting means and roof access points

is completed and attached Y N

Notes:

1. These criteria are intended for expedited solar permitting process.

2. If any items are checked NO,revise design to fit within Eligibility Checklist, otherwise permit application may go through standard process.